## Hmi Tags
Name | Path | Connection | PLC tag | DataType | HMI DataType | Length | Access Method | Address | Start value | Persistency | Substitute value | ID tag | Comment [en-US] | Acquisition mode | Acquisition cycle | Limit Upper 2 Type | Limit Upper 2 | Limit Lower 2 Type | Limit Lower 2 | Linear scaling | End value PLC | Start value PLC | End value HMI | Start value HMI | Gmp relevant | Confirmation Type | RequiredFunctionRights | Mandatory Commenting | Scope
PLC1_Frequency_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | Frequency_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Frequency_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | Frequency_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Frequency_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | Frequency_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Frequency_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | Frequency_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Frequency_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | Frequency_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Frequency_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | Frequency_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Frequency_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | Frequency_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Frequency_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | Frequency_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_VolumeAirFlow_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | VolumeAirFlow_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_VolumeAirFlow_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | VolumeAirFlow_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_VolumeAirFlow_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | VolumeAirFlow_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_VolumeAirFlow_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | VolumeAirFlow_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_VolumeAirFlow_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | VolumeAirFlow_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_VolumeAirFlow_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | VolumeAirFlow_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_VolumeAirFlow_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | VolumeAirFlow_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_VolumeAirFlow_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | VolumeAirFlow_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingDE_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | BearingDE_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingDE_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | BearingDE_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingDE_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | BearingDE_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingDE_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | BearingDE_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingDE_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | BearingDE_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingDE_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | BearingDE_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingDE_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | BearingDE_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingDE_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | BearingDE_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingNDE_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | BearingNDE_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingNDE_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | BearingNDE_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingNDE_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | BearingNDE_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingNDE_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | BearingNDE_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingNDE_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | BearingNDE_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingNDE_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | BearingNDE_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingNDE_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | BearingNDE_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BearingNDE_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | BearingNDE_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Current_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | Current_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Current_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | Current_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Current_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | Current_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Current_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | Current_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Current_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | Current_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Current_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | Current_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Current_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | Current_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Current_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | Current_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing1_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing1_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing1_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing1_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing1_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing1_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing1_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing1_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing1_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing1_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing1_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing1_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing1_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing1_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing1_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing1_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing2_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing2_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing2_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing2_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing2_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing2_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing2_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing2_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing2_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing2_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing2_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing2_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing2_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing2_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MainBearing2_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MainBearing2_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU1_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU1_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU1_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU1_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU1_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU1_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU1_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU1_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU1_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU1_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU1_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU1_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU1_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU1_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU1_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU1_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU2_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU2_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU2_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU2_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU2_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU2_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU2_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU2_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU2_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU2_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU2_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU2_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU2_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU2_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsU2_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsU2_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV1_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV1_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV1_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV1_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV1_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV1_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV1_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV1_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV1_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV1_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV1_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV1_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV1_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV1_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV1_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV1_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV2_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV2_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV2_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV2_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV2_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV2_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV2_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV2_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV2_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV2_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV2_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV2_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV2_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV2_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsV2_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsV2_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW1_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW1_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW1_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW1_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW1_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW1_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW1_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW1_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW1_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW1_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW1_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW1_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW1_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW1_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW1_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW1_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW2_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW2_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW2_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW2_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW2_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW2_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW2_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW2_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW2_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW2_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW2_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW2_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW2_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW2_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_MotorWindingsW2_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | MotorWindingsW2_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Pressure_scada_HH | PLC1\Events_PLC1 | PLC1_RIO1 | Pressure_AI_DB.events.scada.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Pressure_scada_H | PLC1\Events_PLC1 | PLC1_RIO1 | Pressure_AI_DB.events.scada.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Pressure_scada_L | PLC1\Events_PLC1 | PLC1_RIO1 | Pressure_AI_DB.events.scada.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Pressure_scada_LL | PLC1\Events_PLC1 | PLC1_RIO1 | Pressure_AI_DB.events.scada.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Pressure_hmi_HH | PLC1\Events_PLC1 | PLC1_RIO1 | Pressure_AI_DB.events.hmi.HH | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Pressure_hmi_H | PLC1\Events_PLC1 | PLC1_RIO1 | Pressure_AI_DB.events.hmi.H | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Pressure_hmi_L | PLC1\Events_PLC1 | PLC1_RIO1 | Pressure_AI_DB.events.hmi.L | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Pressure_hmi_LL | PLC1\Events_PLC1 | PLC1_RIO1 | Pressure_AI_DB.events.hmi.LL | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_scada_start | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.scada.start | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_scada_stop | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.scada.stop | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_scada_forward | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.scada.forward | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_scada_reverse | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.scada.reverse | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_scada_reset | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.scada.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Brake_scada_off | PLC1\Events_PLC1 | PLC1_RIO1 | Brake_DB.events.scada.off | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Brake_scada_on | PLC1\Events_PLC1 | PLC1_RIO1 | Brake_DB.events.scada.on | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Brake_scada_reset | PLC1\Events_PLC1 | PLC1_RIO1 | Brake_DB.events.scada.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_hmi_start | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.hmi.start | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_hmi_stop | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.hmi.stop | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_hmi_forward | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.hmi.forward | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_hmi_reverse | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.hmi.reverse | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_hmi_reset | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.hmi.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Brake_hmi_off | PLC1\Events_PLC1 | PLC1_RIO1 | Brake_DB.events.hmi.off | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Brake_hmi_reset | PLC1\Events_PLC1 | PLC1_RIO1 | Brake_DB.events.hmi.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Brake_hmi_on | PLC1\Events_PLC1 | PLC1_RIO1 | Brake_DB.events.hmi.on | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerCell_scada_on | PLC1\Events_PLC1 | PLC1_RIO1 | BlowerCell_DB.events.scada.on | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerCell_scada_off | PLC1\Events_PLC1 | PLC1_RIO1 | BlowerCell_DB.events.scada.off | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerCell_scada_reset | PLC1\Events_PLC1 | PLC1_RIO1 | BlowerCell_DB.events.scada.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerCell_hmi_off | PLC1\Events_PLC1 | PLC1_RIO1 | BlowerCell_DB.events.hmi.off | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerCell_hmi_reset | PLC1\Events_PLC1 | PLC1_RIO1 | BlowerCell_DB.events.hmi.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerCell_hmi_on | PLC1\Events_PLC1 | PLC1_RIO1 | BlowerCell_DB.events.hmi.on | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_PartitionCell_scada_on | PLC1\Events_PLC1 | PLC1_RIO1 | PartitionCell_DB.events.scada.on | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_PartitionCell_scada_off | PLC1\Events_PLC1 | PLC1_RIO1 | PartitionCell_DB.events.scada.off | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_PartitionCell_scada_reset | PLC1\Events_PLC1 | PLC1_RIO1 | PartitionCell_DB.events.scada.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_PartitionCell_hmi_off | PLC1\Events_PLC1 | PLC1_RIO1 | PartitionCell_DB.events.hmi.off | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_PartitionCell_hmi_reset | PLC1\Events_PLC1 | PLC1_RIO1 | PartitionCell_DB.events.hmi.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_PartitionCell_hmi_on | PLC1\Events_PLC1 | PLC1_RIO1 | PartitionCell_DB.events.hmi.on | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_scada_open | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.scada.open | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_scada_close | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.scada.close | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_scada_stop | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.scada.stop | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_scada_reset | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.scada.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_scada_winterMode | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.scada.winterMode | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_scada_heater | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.scada.heater | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_hmi_open | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.hmi.open | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_hmi_close | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.hmi.close | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_hmi_stop | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.hmi.stop | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_hmi_reset | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.hmi.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_hmi_winterMode | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.hmi.winterMode | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_hmi_heater | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.hmi.heater | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_scada_open | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.scada.open | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_scada_close | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.scada.close | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_scada_stop | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.scada.stop | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_scada_reset | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.scada.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_scada_winterMode | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.scada.winterMode | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_scada_heater | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.scada.heater | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_hmi_open | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.hmi.open | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_hmi_close | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.hmi.close | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_hmi_stop | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.hmi.stop | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_hmi_reset | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.hmi.reset | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_hmi_winterMode | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.hmi.winterMode | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_hmi_heater | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.hmi.heater | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_opened | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.isOpened | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_In_closed | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.isClosed | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_opened | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.isOpened | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Valve_Out_closed | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.isClosed | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_scada_winterMode | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.scada.winterMode | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_scada_heater | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.scada.heater | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_ValveIn_hmi_autoMode | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.hmi.autoMode | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_ValveOut_scada_autoMode | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.scada.autoMode | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_hmi_heater | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.hmi.heater | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_BlowerControl_hmi_winterMode | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.hmi.winterMode | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_ValveIn_scada_autoMode | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.scada.autoMode | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_ValveOut_hmi_autoMode | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.hmi.autoMode | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_ValveOut_blower_open | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.blower.open | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_ValveOut_blower_close | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_Out_DB.events.blower.close | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_ValveIn_blower_close | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.blower.close | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_ValveIn_blower_open | PLC1\Events_PLC1 | PLC1_RIO1 | Valve_In_DB.events.blower.open | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Blower_Control_DB_stopped | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.stop | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide
PLC1_Blower_Control_startReserve | PLC1\Events_PLC1 | PLC1_RIO1 | Blower_Control_DB.events.startReserve | Bool | Bool | 1 | Symbolic access | <No Value> | <No Value> | False | <No Value> | 0 | <No Value> | Cyclic in operation | T250ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0 | False | None | <No Value> | False | System-wide

## Substitute Value Usage
HMI Tag name | Substitute Value Usage